## Аркуш1
Generation |  | 209292791.63 |  |  |  | Transmission system |  | 96783000 |  |  |  | Distribution system |  | 87763995.79 |  |  |  | Gas distribution and gas production sector |  | 364635606.26
Infrastructure |  | Equipment | Unit | Quantity | Estimated total value (Euros, excl. VAT) | Infrastructure |  | Equipment | Unit | Quantity | Estimated total value (Euros, excl. VAT) | Infrastructure |  | Equipment | Unit | Quantity | Estimated total value (Euros, excl. VAT) | Infrastructure |  | Equipment | Unit | Quantity | Estimated total value (Euros, excl. VAT)
Generation | DTEK Dniproenergy | Specialized equipment for debris removal and remediation (hydraulic car lift, tractor unit, semi trailer, tipper truck, etc.) | pcs | 1 | 2647900 | Transmission | UKRENERGO | Autotransformers | units | 15 | 34442000 | Distribution | DTEK Dnipro Grids | 150 kV Mobile substation 25 MVA 150/10/10 kV | pcs | 1 | 6382500 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | Cable PVZ 1x6 (copper wire in polyethylene insulation with PVC hose) | m | 200 | 114
Generation | DTEK Westenergy | Open cycle gas turbine (OCGT) General Electric LM6000 PG 56 MW | pcs | 2 | 60000000 | Transmission | UKRENERGO | Shunt reactors 110 mVa750кV | units | 7 | 6024000 | Distribution | DTEK Odesa Grids | 110 kV Mobile substation 25 MVA 150/10/10 kV | pcs | 1 | 5087500 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | Joint connector 10CTp-7 (35-50) (Connecting joint for three-core high-voltage cables with paper oil-impregnated insulation) | kit | 10 | 422.2
Generation | DTEK Westenergy | Gas booster compressors | pcs | 2 | 10200000 | Transmission | UKRENERGO | High-voltage bushings 110кV, 150 кV, 330 кV, 750 кV | units | 140 | 4230000 | Distribution | DTEK Dnipro Grids | Power transformer TDNS 10 MVA 35/6 kV | pcs | 1 | 140259.6 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | Joint connector 10CTp-8 (70-120) (Connecting joint for three-core high-voltage cables with paper oil-impregnated insulation) | kit | 10 | 501.8
Generation | DTEK Westenergy | Grid connection equipment-step-up power transformer 80 MVA, other HV equipment | set | 2 | 6400000 | Transmission | UKRENERGO | Voltage transformers 110 кV, 330 кV, 750 кV | units | 50 | 1316000 | Distribution | DTEK Dnipro Grids | Recloser for overhead lines (OHL) distribution electrical grids 10-20 kV | set | 369 | 5343690.18 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | Joint connector 4PSTp-1 (70-120) (Connecting joint for three-core high-voltage cables with polymer insulation) | kit | 80 | 1319.2
Generation | DTEK Westenergy | Civil, Instalation and commissioning works | set | 2 | 26500000 | Transmission | UKRENERGO | Surge protectors 35-750 кV | units | 68 | 658000 | Distribution | DTEK Kyiv Regional Grids | Recloser for overhead lines (OHL) distribution electrical grids 10-20 kV | set | 338 | 4894762.28 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | Joint connector 4PSTp-1 (16-25) (Connecting joint for three-core high-voltage cables with polymer insulation) | kit | 50 | 391.5
Generation | DTEK Westenergy | Protective shelter | pcs | 2 | 11000000 | Transmission | UKRENERGO | Special equipment: lift trucks, specialized tractors, specialized vehicles, pile driving equipment | units | 104 | 26320000 | Distribution | DTEK Kyiv Regional Grids | Recloser for overhead lines (OHL) distribution electrical grids 10-20 kV | set | 232 | 3359718.49 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | Joint connector 4PSTp-1 (25-50) (Connecting joint for three-core high-voltage cables with polymer insulation) | kit | 60 | 616.8
Generation | Burshtyn TPP | Turbine Oil TP-22 | t | 70 | 93990.03 | Transmission | Burshtyn TPP | Autotransformer 240 MVA / 330 kV / 220 kV / Yauto/d-11 | pc | 1 | 3008000 | Distribution | DTEK Kyiv Regional Grids | Recloser for overhead lines (OHL) distribution electrical grids 10-20 kV | set | 615 | 8906150.3 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | Joint connector 1PSTp-1 (150-240) (Connecting joint for three-core high-voltage cables with polymer insulation) | kit | 40 | 272.4
Generation | Burshtyn TPP | Wire АС-400, АС-300 | m | 1000 | 4811.39 | Transmission | Burshtyn TPP | Autotransformer 210 MVA / 400 kV / 330 kV / Yauto/d-11 | pcs | 3 | 8054000 | Distribution | DTEK Odesa Grids | Recloser for overhead lines (OHL) distribution electrical grids 10-20 kV | set | 338 | 4894762.28 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | Joint connector 4PSTp-1 (150-240) (Connecting joint for three-core high-voltage cables with polymer insulation) | kit | 20 | 485.4
Generation | Burshtyn TPP | Circuit breaker SF6 220 kV 220 | pcs | 2 | 59661.29 | Transmission | Burshtyn TPP | Autotransformer 133 MVA / 400 kV / 220 kV / Yauto/d-11 | pc | 1 | 1666000 | Distribution | DTEK Odesa Grids | Recloser for overhead lines (OHL) distribution electrical grids 10-20 kV | set | 220 | 3185939.94 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | Joint connector 35PSTpO-1 (1/70-120) (connecting heat-shrink joint with plastic insulation) | kit | 12 | 1102.32
Generation | Burshtyn TPP | Disconnectors 220kV | pcs | 2 | 61585.85 | Transmission | Kryvoryzka TPP | Autotransformer 250 MVA / 330 kV / 150 kV | pcs | 1 | 2129000 | Distribution | DTEK Odesa Grids | Recloser for overhead lines (OHL) distribution electrical grids 10-20 kV | set | 444 | 6429806.07 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | End joint 4PKVTpN-1(25-50) (joint for cable with polymer insulation, end, internal, heat-shrinkable) | kit | 30 | 258.9
Generation | Burshtyn TPP | Disconnectors 330kV | pcs | 2 | 65627.42 | Transmission | Pridnyprovska TPP | Autotransformer 400 MVA / 330 kV / 150 kV | pcs | 2 | 6666000 | Distribution | DTEK Dnipro Grids | Power transformer TMN 6,3 MVA 35/6 kV | pcs | 1 | 65000 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | End joint 4PKVTpN-1(70-120) (joint for cable with polymer insulation, end, internal, heat-shrinkable) | kit | 20 | 238.2
Generation | Burshtyn TPP | High voltage support | pcs | 1 | 134271.47 | Transmission | Kryvoryzka TPP | Autotransformer 250 MVA / 330 kV / 150 kV | pcs | 1 | 2270000 | Distribution | DTEK Odesa Grids | Current transformer TRH 110 IV 750/1 | pcs | 6 | 36000 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | End joint 4PKVTpN-1(150-240) (joint for cable with polymer insulation, end, internal, heat-shrinkable) | kit | 10 | 166.9
Generation | Burshtyn TPP | Cable and wire products | m | 40000 | 1462663.92 | [6 empty] | Distribution | DTEK Odesa Grids | Power transformer TDN 25 MVA | pcs | 2 | 1600000 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | End joint 10KNTpN-7 (25-50) (joint for cable with polymer insulation, end, external, heat-shrinkable, insulation from impregnated paper) | kit | 10 | 254.7
Generation | Burshtyn TPP | Busbars set 15.75 kV | pcs | 2 | 1312548.41 | [5 empty] | 96783000 | Distribution | DTEK Odesa Grids | SF6 hybrid transformer (1T power transformer module), type ZF28A-145 | pcs | 1 | 94422 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | End joint 10KNTpN-8 (70-120) (joint for cable with polymer insulation, end, external, heat-shrinkable, insulation from impregnated paper) | kit | 10 | 287.3
Generation | Burshtyn TPP | Bushings 220 kV | pcs | 3 | 39260.98 | [6 empty] | Distribution | DTEK Odesa Grids | SF6 hybrid transformer (2T power transformer module), type ZF28A-145 | pcs | 1 | 94422 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | End joint 10KVTPN-7 (25-50) (joint for cable with polymer insulation, end, internal, heat-shrinkable, insulation from impregnated paper) | kit | 10 | 208.8
Generation | Burshtyn TPP | Bushings 330 kV | pcs | 3 | 59180.15 | [6 empty] | Distribution | DTEK Odesa Grids | SF6 hybrid control unit (linear module), type ZF28A-145 | pcs | 2 | 188844 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | End joint 10KVTPN-8 (70-120) (joint for cable with polymer insulation, end, internal, heat-shrinkable, insulation from impregnated paper) | kit | 10 | 238.2
Generation | Burshtyn TPP | Turbine overhaul materials and equipment kit | kit | 2 | 9622788.96 | [6 empty] | Distribution | DTEK Odesa Grids | SF6 hybrid circuit breaker (section switch module), type ZF28A-145 | pcs | 1 | 94422 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | Cable VBbShv 4x16 (copper cable with PVC insulation, armored with two steel plates with anti-corrosion protective coating, without a cushion, with a protective cover in the form of a pressed hose (sheath) made of polyvinyl chloride) | m | 9600 | 68640
Generation | Burshtyn TPP | Backhoe loader JCB-4CX | pcs | 1 | 126154.55 | [6 empty] | Distribution | DTEK Odesa Grids | Concrete block type FBS 24-6-6 | pcs | 9995 | 964509 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | Cable VBbShv 4x6 (copper cable with PVC insulation, armored with two steel plates with anti-corrosion protective coating, without a cushion, with a protective cover in the form of a pressed hose (sheath) made of polyvinyl chloride) | m | 5200 | 15548
Generation | Burshtyn TPP | Truck Crane 200 t. | pcs | 1 | 1419238.72 | [6 empty] | Distribution | DTEK Odesa Grids | Power transformer TDTN 16000/110/35/10 Kv | pcs | 1 | 960000 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | Cable KVBbShv 4x2.5 (control armored cable with steel tape, with copper conductor, insulation, and protective hose made of PVC) | m | 28700 | 41902
Generation | Burshtyn TPP | Demolition boom excavator | pcs | 1 | 1915680.25 | [6 empty] | Distribution | DTEK Odesa Grids | Complete destribution device of closwd type KPRZ 10 Kv | set | 1 | 456000 | Gas distribution and gas production sector | JSC Ukrgazvydobuvannya | Set of gas pumping units based on a piston compressor driven by a gas-piston engine for object 2.22 | kit | 1 | 4810000
Generation | Kryvoryzka TPP | Separator cyclone | set | 2 | 384911.56 | [6 empty] | Distribution | DTEK Odesa Grids | Complete distribution device of closed type KRPZ 10 kV | set | 1 | 420000 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Block refrigerating unit for natural gas preparation as part of the cooling system and heat exchange circuit with refrigerant - 1 unit. On a frame with equipment, pipeline layout, measuring and control devices, and automation. Capacity: 0.2..1.5 million m³/day. Maximum power consumption: 522 kW. | kit | 1 | 550000
Generation | Kryvoryzka TPP | Metal for the restoration of the dust collector system | t | 60 | 103926.12 | [6 empty] | Distribution | DTEK Odesa Grids | Voltage transformer TVG 123 | pcs | 3 | 25200 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Block three-phase separator - 1 unit. On a frame with pipeline layout, measuring and control devices, and automation. Calculated pressure: 10 MPa (ANSI 600). Capacity: 0.5 million m³/day. | kit | 1 | 500000
Generation | Kryvoryzka TPP | Oil pump for the generator sealing system | pcs | 3 | 4330.26 | [6 empty] | Distribution | DTEK Odesa Grids | Transformer strumu TRG 110 IV 600/5 | pcs | 3 | 18000 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Block three-phase separator - 1 unit. On a frame with pipeline layout, measuring and control devices, and automation. Calculated pressure: 10 MPa (ANSI 600). Capacity: 1,0 million m³/day. | kit | 1 | 850000
Generation | Pridnyprovska TPP | Auxiliary transformer TRDNS -32000/35 | pcs | 3 | 1968822.62 | [6 empty] | Distribution | DTEK Odesa Grids | Roz'ednuvach RDZ 1a-110/1000 | pcs | 2 | 12800 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Block three-phase separator - 1 unit. On a frame with pipeline layout, measuring and control devices, and automation. Calculated pressure: 10 MPa (ANSI 600). Capacity: 1.5 million m³/day. | kit | 1 | 1150000
Generation | Pridnyprovska TPP | Transformer oil | t | 100 | 188029.3 | [6 empty] | Distribution | DTEK Odesa Grids | Roz'ednuvach RDZ 2a-110/1000 | pcs | 1 | 6400 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Block shell-and-tube heat exchanger "gas-liquid" - 4 units. On a frame with pipeline layout, measuring and control devices, and automation. Calculated pressure: 10.0 MPa. Heat exchange area: 35 m². | kit | 4 | 240000
Generation | Pridnyprovska TPP | Excitation transformer with excitation system | pcs | 1 | 831408.97 | [6 empty] | Distribution | DTEK Kyiv Regional Grids | Concrete block type FBS 24-6-6 | pcs | 3519 | 339580 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Block shell-and-tube heat exchanger "gas-liquid" - 4 units. On a frame with pipeline layout, measuring and control devices, and automation. Calculated pressure: 10.0 MPa. Heat exchange area: 43 m². | kit | 2 | 140000
Generation | Pridnyprovska TPP | Materials and equipment needed to restore the turbine, generator and auxiliary equipment | set | 1 | 4811394.48 | [6 empty] | Distribution | DTEK DONETSK GRIDS | Concrete block type FBS 24-6-6 | pcs | 356 | 34354 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Pipeline fittings (valves, shut-off valves, regulating valves, check valves) Diameter: DN 50..300 mm Calculated pressure: PN 2.0...42.0 MPa. | kit | 1 | 700000
Generation | Pridnyprovska TPP | Generator-transformer protection set | set | 1 | 306004.69 | [6 empty] | Distribution | DTEK Dnipro Grids | Concrete block type FBS 24-6-6 | pcs | 2030 | 127558 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Distribution device for voltage 6 kV (10 kV, 20 kV) with multiple compartments (more than 5 units) | kit | 1 | 90000
Generation | Pridnyprovska TPP | 6kV switchgear equipment | set | 1 | 130869.93 | [6 empty] | Distribution | DTEK Dnipro Grids | Concrete block type FBS 24-5-6 | pcs | 1740 | 117145 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Frequency converter for voltage 6 kV with output current of 190 A or more | kit | 1 | 200000
Generation | Pridnyprovska TPP | 380 V switchboards | pcs | 2 | 42340.27 | [6 empty] | Distribution | DTEK Dnipro Grids | Concrete block type FBS 24-6-6 | pcs | 2900 | 279847 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Frequency converter for voltage 0.4 kV with output current of 740 A or more | kit | 1 | 50000
Generation | Pridnyprovska TPP | Disconnectors 330kV | pcs | 3 | 98441.13 | [6 empty] | Distribution | DTEK High Voltage Grids | Concrete block type FBS 24-6-6 | pcs | 534 | 51531 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Electric asynchronous motor: 355 kW, 400 V, 4 poles, Exd, ATEX | kit | 1 | 75000
Generation | Pridnyprovska TPP | Truck Crane 200 Ton | pcs | 1 | 1419238.72 | [6 empty] | Distribution | DTEK Odesa Grids | Disconnector RGP 1a-110/1000 | pcs | 8 | 51200 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Electric asynchronous motor: 6 kV or 10 kV, 2.0 MW, Exd, ATEX | kit | 1 | 300000
Generation | Kryvoryzka TPP | Truck Crane 200 Ton | pcs | 1 | 1419238.72 | [6 empty] | Distribution | DTEK Odesa Grids | Disconnector RGP 2a-110/1000 | pcs | 2 | 12800 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Cable RG7H1NM1, 6/10 kV, 3*150 mm² or similar with rubber insulation for use in hazardous areas. Length: 200 m | kit | 1 | 65000
Generation | Pridnyprovska TPP | Backhoe loader JCB-4CX | pcs | 1 | 126154.55 | [6 empty] | Distribution | DTEK Odesa Grids | Voltage transformer TVG 123 | pcs | 6 | 50400 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Gas piston engine with a power of 1678 kW, 1200 rpm - 3 units | kit | 3 | 800000
Generation | Kryvoryzka TPP | Backhoe loader JCB-4CX | pcs | 1 | 126154.55 | [6 empty] | Distribution | DTEK Odesa Grids | Current transformer TRG 110 IV 600/5 | pcs | 9 | 54000 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Gas piston compressor Ariel JGD 4 cylinder with cylinders: 12.5" - 2 units, 11.75" - 1 unit, 9.125" - 1 unit - 4 aggregates | kit | 4 | 2700000
Generation | Pridnyprovska TPP | Demolition boom excavator | pcs | 1 | 1915680.25 | [6 empty] | Distribution | DTEK Odesa Grids | Switch 120 SFM -32B with frame | pcs | 3 | 20500 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Automation cabinet complete with HMI panel and PLC with input/output modules: 64 DI, 32 DO, 64 AI, 32 AO Exn execution - 1 cabinet | kit | 1 | 80000
Generation | Kryvoryzka TPP | Demolition boom excavator | pcs | 1 | 1915680.25 | [6 empty] | Distribution | DTEK Odesa Grids | Current transformer TRH 110 IV 600/5 | pcs | 3 | 18000 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Pressure sensors Exd 4-20 mA 0…10 MPa - 11 units | kit | 17 | 45000
Generation | Ladyzhyn TPP | Step-up power transformer 400MVA/110kV/20kV | pcs | 1 | 2064000 | [6 empty] | Distribution | DTEK Odesa Grids | Complete closed-type switchgear KRPZ 10kV (72 linear, 22 technological) | kit | 1 | 1940000 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Gas metering unit including: ultrasonic gas meter DN150 (6") ANSI 600 Q = 20…3000 m³/h, calibrated straight sections, absolute pressure and temperature sensors. | kit | 1 | 75000
Generation | Ladyzhyn TPP | Step-up power transformer 400MVA/330kV/20kV | pcs | 1 | 2064000 | [6 empty] | Distribution | DTEK Dnipro Grids | Power transformer TDNS 10 MVA 35/10 kV | pcs | 2 | 360000 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Gas metering unit including: ultrasonic gas meter DN80 (3") ANSI 600 Q = 8…1000 m³/h, calibrated straight sections, absolute pressure and temperature sensors. | kit | 1 | 52000
Generation | Ladyzhyn TPP | Autotransformer 200MVA/330kV/110kV | pcs | 2 | 4032000 | [6 empty] | Distribution | DTEK Dnipro Grids | Complete switchgear (KRPZ) with a rated voltage of 35 kV | pcs | 1 | 266000 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Gas metering unit including: ultrasonic gas meter DN50 (2") ANSI 150 Q = 4…400 m³/h, calibrated straight sections, absolute pressure and temperature sensors - 3 units. | kit | 1 | 92000
Generation | Ladyzhyn TPP | Auxiliary transformer 32MVA/35kV | pcs | 1 | 720000 | [6 empty] | Distribution | DTEK Dnipro Grids | Complete switchgear (KRPZ) with a rated voltage of 10 kV | pcs | 1 | 440000 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Server cabinet with parameters: vCPU: 220 cores; RAM: 500 GB; Storage: 10 TB; L3 switch with 96 ports; uninterruptible power supply. | kit | 1 | 350000
Generation | Ladyzhyn TPP | Current lead 20kV | set | 2 | 1248000 | [6 empty] | Distribution | DTEK Odesa Grids | Gas-insulated switch LTB 170D1/B | pcs | 6 | 201600 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Piston compressor unit Ariel JG4 with 2 stages of compression and electric drive (asynchronous motor 355 kW, 0.4 kV, 50 Hz, 4 poles)Technical parameters: Inlet pressure: 20 bar (g) Outlet pressure: 130 bar (g) Capacity: 100,000 m³/day. | kit | 1 | 1500000
Generation | Ladyzhyn TPP | Transformer oil | t | 120 | 178560 | [6 empty] | Distribution | DTEK Odesa Grids | Disconnector RD(Z)-150/1000 UHL-1 with 2 grounding knives | pcs | 12 | 158400 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Block compressed air compressor unit KVPiA. (2 air compressors, adsorption air dryer) Compressed air pressure: 13 bar (g) Capacity: 468 Nm³/h Dew point temperature: -40°C | kit | 2 | 200000
Generation | Ladyzhyn TPP | Busbars 6kV | set | 1 | 96000 | [6 empty] | Distribution | DTEK Odesa Grids | Current transformer IOSK-170 | pcs | 9 | 97200 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Piston compressor unit Ariel JGD4 with 3 stages of compression driven by Waukesha P9394GSI S4 1678 kWTechnical parameters: Inlet pressure: 5 bar (g) Outlet pressure: 50 bar (g) Capacity: 325,000 m³/day. | kit | 1 | 4000000
Generation | Ladyzhyn TPP | Excitation transformer 3.2MVA/20kV | set | 1 | 115200 | [6 empty] | Distribution | DTEK Odesa Grids | Voltage transformer EMF 170 | pcs | 3 | 32400 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Piston compressor unit Ariel JGD4 with 3 stages of compression driven by Waukesha P9394GSI S4 1678 kWTechnical parameters: Inlet pressure: 5 bar (g) Outlet pressure: 50 bar (g) Capacity: 325,000 m³/day. | kit | 1 | 4000000
Generation | Ladyzhyn TPP | Circuit breaker SF6 110kV | pcs | 5 | 432000 | [6 empty] | Distribution | DTEK Odesa Grids | Transformer bushings STARIP, 150 kV | pcs | 6 | 30960 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Piston compressor unit Ariel JGD4 with 3 stages of compression driven by Waukesha P9394GSI S4 1678 kWTechnical parameters: Inlet pressure: 5 bar (g) Outlet pressure: 50 bar (g) Capacity: 325,000 m³/day. | kit | 1 | 4000000
Generation | Ladyzhyn TPP | Disconnectors 110kV | pcs | 10 | 768000 | [6 empty] | Distribution | DTEK Odesa Grids | Surge arrester BOW, 150 kV | pcs | 6 | 7920 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Piston compressor unit Ariel JGD4 with 3 stages of compression driven by Waukesha P9394GSI S4 1678 kWTechnical parameters: Inlet pressure: 5 bar (g) Outlet pressure: 50 bar (g) Capacity: 325,000 m³/day. | kit | 1 | 3500000
Generation | Ladyzhyn TPP | Circuit breaker SF6 330kV | pcs | 3 | 432000 | [6 empty] | Distribution | DTEK High Voltage Grids | Concrete block type FBS 24-6-6 (Civil protection) | pcs | 534 | 51531 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Piston compressor unit Ariel JGT4 with 3 stages of compression and electric drive (asynchronous motor 1700 kW, 6 kV, 50 Hz, 4 poles)Technical parameters: Inlet pressure: 5 bar (g) Outlet pressure: 50 bar (g) Capacity: 245,000 m³/day. | kit | 1 | 2500000
Generation | Ladyzhyn TPP | Disconnectors 330kV | pcs | 6 | 576000 | [6 empty] | Distribution | DTEK Dnipro Grids | Concrete block type FBS 24-6-6 (Civil protection) | pcs | 2030 | 127558 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Поршневий компресорний агрегат Ariel JGТ4 3 ступені стиснення з електроприводом (асинхронний двигун 1700 кВт, 6 кВ, 50 Гц, 4 полюси) Технічні параметри: Тиск вхідний - 5 бар (н); Тиск вихідний - 50 бар (н); Продуктивність - 245 тис.м3/добу. | kit | 1 | 2500000
Generation | Burshtyn TPP | Step-up power transformer 250MVA/220kV/15.75kV | pcs | 1 | 1824000 | [6 empty] | Distribution | DTEK Dnipro Grids | Concrete block type FBS 24-5-6 (Civil protection) | pcs | 1740 | 117145 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Поршневий компресорний агрегат Ariel JGТ4 3 ступені стиснення з електроприводом (асинхронний двигун 1700 кВт, 6 кВ, 50 Гц, 4 полюси) Технічні параметри: Тиск вхідний - 5 бар (н); Тиск вихідний - 50 бар (н); Продуктивність - 245 тис.м3/добу. | kit | 1 | 2500000
Generation | Burshtyn TPP | Autotransformer 133MVA 400kV 220kV 3AT | pcs | 3 | 4752000 | [6 empty] | Distribution | DTEK Dnipro Grids | Concrete block type FBS 24-6-6 (Civil protection) | pcs | 2900 | 279847 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Piston compressor unit Ariel JGJ4 with 4 stages of compression and electric drive (asynchronous motor 400 kW, 0.4 kV, 50 Hz, 4 poles)Technical parameters: Inlet pressure: 7 bar (g) Outlet pressure: 160 bar (g) Capacity: 60,000 m³/day. | kit | 1 | 1700000
Generation | Burshtyn TPP | Bushings 220 kV 2000 A | pcs | 3 | 95333.76 | [6 empty] | Distribution | DTEK Dnipro Grids | Power transformer TDNS 10 MVA 35/10 kV | pcs | 2 | 360000 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Piston compressor unit Ariel JGM2 with 3 stages of compression and electric drive (asynchronous motor 132 kW, 0.4 kV, 50 Hz, 4 poles)Technical parameters: Inlet pressure: 2 bar (g) Outlet pressure: 55 bar (g) Capacity: 16,000 m³/day. | kit | 1 | 1000000
Generation | Burshtyn TPP | Bushings 400 kV 2000 A | pcs | 3 | 187200 | [6 empty] | Distribution | DTEK Dnipro Grids | Complete switchgear (KRPZ) with a rated voltage of 35 kV | pcs | 1 | 266000 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Piston compressor unit Ariel JG2 with 3 stages of compression driven by Caterpillar G3408NA gas engine 190 kW.Technical parameters: Inlet pressure: 2 bar (g) Outlet pressure: 55 bar (g) Capacity: 25,000 m³/day. | kit | 1 | 1500000
Generation | Burshtyn TPP | Disconnectors 220kV | pcs | 1 | 86400 | [6 empty] | Distribution | DTEK Dnipro Grids | Complete switchgear (KRPZ) with a rated voltage of 10 kV | pcs | 1 | 440000 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Gas piston compressor Ariel JGT with 4 rows of cylinders: 3 cylinders of 11" and 1 cylinder of 8.375". 1 unit. | kit | 4 | 700000
Generation | Burshtyn TPP | Disconnectors 330kV | pcs | 1 | 96000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VoltageTransformer27.5kV | pcs | 2 | 1480 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Diaphragm dosing pump Q-71 l/h, pressure rating - 400 bar | kit | 1 | 30000
Generation | Burshtyn TPP | Disconnectors 400kV | pcs | 1 | 172800 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer35kV | pcs | 3 | 6407 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Diaphragm dosing pump Q-71 l/h, pressure rating - 400 bar | kit | 1 | 30000
Generation | Burshtyn TPP | Circuit breaker SF6 400kV | pcs | 1 | 153600 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker27.5kV | pcs | 2 | 13267 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Diaphragm dosing pump Q-71 l/h, pressure rating - 400 bar | kit | 1 | 30000
Generation | Burshtyn TPP | Circuit breaker SF6 330kV | pcs | 1 | 144000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker27.5kV | pcs | 2 | 13267 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Diaphragm dosing pump Q-71 l/h, pressure rating - 400 bar | kit | 1 | 30000
Generation | Burshtyn TPP | Circuit breaker SF6 220kV | pcs | 1 | 118080 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTM-400kVA/27.5kV/0.4kV | pcs | 2 | 23681 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Diaphragm dosing pump Q-71 l/h, pressure rating - 400 bar | kit | 1 | 30000
Generation | Burshtyn TPP | Voltage transformers 400 kV | pcs | 3 | 72000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ2-35/1000/UHLDoublePoleManualDrive | pcs | 2 | 1057 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Glycol regeneration unit - 1 unit. On a frame with pressure vessels, piping system, gas burner, control and measuring instruments, and automation. Thermal power: 400..500 kW (1,500,000..1,700,000 BTU/hour). MEG consumption: 5..25 l/min. Calculated pump pressure: 3.0...10.0 MPa. | kit | 1 | 1200000
Generation | Burshtyn TPP | Voltage transformers 330 kV | pcs | 3 | 48960 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SF6CircuitBreaker110kV | pcs | 2 | 39513 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Glycol heating unit with an intermediate heating circuit. Thermal power: 1260 kW (4,300,000 BTU/hour). | kit | 1 | 300000
Generation | Burshtyn TPP | Voltage transformers 220 kV | pcs | 3 | 34560 | [6 empty] | Distribution | Regional branch "Odesa Railway" | InsulatorIOS-35-500daN01 | pcs | 50 | 2268 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Pipeline fittings (valves, shut-off valves, control valves, check valves). Diameter: DN 50..300 mm. Calculated pressure: PN 2.0...42.0 MPa. | kit | 1 | 300000
Generation | Burshtyn TPP | Current transformers 400 kV | pcs | 3 | 72000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | InsulatorPS-70E | pcs | 49 | 503 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Electric asynchronous motor: 400 kW, 400V, 4 poles, Exd, ATEX. | kit | 1 | 90000
Generation | Burshtyn TPP | Current transformers 330 kV | pcs | 3 | 48960 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-27.5kV | pcs | 2 | 270 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Electric asynchronous motor: 6 kV or 10 kV, 1.7 MW, Exd, ATEX. | kit | 1 | 260000
Generation | Burshtyn TPP | Current transformers 220 kV | pcs | 3 | 34560 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTM-400kVA/10kV/0.23kV | pcs | 1 | 12061 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Cable RG7H1NM1, 6/10 kV, 3*150 mm² or equivalent with rubber insulation for use in explosive areas. Length: 500 m. | kit | 1 | 165000
Generation | Burshtyn TPP | Surge arrester 400 kV | pcs | 3 | 23999.99 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SinglePhaseVacuumCircuitBreaker27.5kV | pcs | 2 | 14589 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Automation cabinet assembled with an HMI panel and PLC with input/output modules: 64 DI, 32 DO, 64 AI, 32 AO Exn execution - quantity: 4 cabinets. | kit | 4 | 320000
Generation | Burshtyn TPP | Surge arrester 330 kV | pcs | 3 | 14400 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker35kV | pcs | 4 | 26535 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Pressure sensors Exd 4-20 mA 0…10 MPa - quantity: 44 pcs; Temperature sensors Exd 4-20 mA -50…200°C - quantity: 68 pcs | kit | 112 | 180000
Generation | Burshtyn TPP | Surge arrester 220 kV | pcs | 3 | 12479.99 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer6kV | pcs | 2 | 3594 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Propane refrigeration unit for natural gas preparation consisting of two technological lines - 1 unit. Each technological line includes block heat exchange and separation equipment for gas preparation and a propane cooling system. Throughput capacity of the two technological lines: 0.8..3.4 million m³/day. Maximum power consumption: 2000 kW. | kit | 1 | 6000000
Generation | Burshtyn TPP | Pipe products | t | 41.58 | 51563 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer10kV | pcs | 2 | 3594 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Frequency converter with a voltage of 6 kV and an output current of 80 A or more. | kit | 1 | 150000
Generation | Burshtyn TPP | Metal products | t | 75.92 | 94147 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer10kV | pcs | 5 | 8986 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Electric asynchronous motor: 710 kW, 6000 V, 4 poles, Exd, ATEX. | kit | 1 | 110000
Generation | Burshtyn TPP | Metal corner | t | 129.05 | 160344 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VoltageTransformer35kV | pcs | 2 | 1480 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Diesel generator with a voltage of 400 V and a power of 500 kVA. | kit | 1 | 100000
Generation | Burshtyn TPP | Iron channel | t | 11.65 | 14447 | [6 empty] | Distribution | Regional branch "Odesa Railway" | KTP-100/10/0.4-U1 | pcs | 1 | 3150 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Power oil transformer with a voltage of 110/6 kV (or 115 kV, 132 kV) and a power rating of not less than 6.3 MVA up to 20 MVA. | kit | 1 | 340000
Generation | Burshtyn TPP | Two-shaft beam | t | 288.05 | 357208.08 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTDTN-40000kVA/110kV/35kV/27.5kV | pcs | 1 | 951475 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Power oil transformer with a voltage of 110/35 kV or 115/33 kV (or another close voltage class) and a power rating of not less than 4 MVA up to 15 MVA. | kit | 1 | 370000
Generation | Ladyzhyn TPP | Sandwich panels for wall with insulation Blachy Pruszynski PWS-PIR-ST100 | m² | 1500 | 45225 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker10kV | pcs | 2 | 7764 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Switchgear with a voltage of 35 kV. One or more distribution cells. | kit | 1 | 80000
Generation | Ladyzhyn TPP | Sandwich panels for roof with insulation Blachy Pruszynski PWD-PIR100 | m² | 900 | 28890 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTM-100kVA/10kV/0.4kV | pcs | 2 | 5371 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Electric asynchronous motor: 132 kW, 400 V, 4 poles, Exd, ATEX. | kit | 1 | 21000
Generation | Ladyzhyn TPP | Profiled sheeting Н75 (ПК75) 0,9мм., zinc 275 | m² | 5000 | 67400 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer10kV | pcs | 2 | 254 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Diesel generator, stationary or mobile, with a voltage of 6 kV and a power of 1-2 MVA. | kit | 1 | 600000
Generation | Dobrotvir TPP | Iron channel 16 | t | 0.54 | 606.37 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VoltageTransformer10kV | pcs | 2 | 767 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Vacuum power circuit breaker for outdoor installation with a voltage of 110 (115, 132) kV. | kit | 1 | 20000
Generation | Dobrotvir TPP | Metal corner L60х5 | t | 0.25 | 198.13 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRLND-10/1000/UHLTriplePoleManualDrive | set | 2 | 2361 | Gas distribution and gas production sector | DTEK PJSC Naftogazvydobuvannya | Vacuum power circuit breaker for outdoor installation with a voltage of 35 kV. | kit | 1 | 15000
Generation | Dobrotvir TPP | Metal corner L63X6 | t | 3.36 | 2634.47 | [6 empty] | Distribution | Regional branch "Odesa Railway" | Fuse10kV | pcs | 2 | 43 | Gas distribution and gas production sector | LIMITED LIABILITY COMPANY'GAS DISTRIBUTION NETWORKS OF UKRAINE'(LLC 'GAS DISTRIBUTION NETWORKS OF UKRAINE') | Steel electric welded pipe 1020x12.0 mm (DN1000) according to DSTU 9218:2023 group B – 60 m. | m | 60 | 14100
Generation | Dobrotvir TPP | Metal corner L75X5 | t | 1.99 | 1557.66 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ1-35/1000/UHLSinglePoleMotorDrive | set | 2 | 1903 | Gas distribution and gas production sector | LIMITED LIABILITY COMPANY'GAS DISTRIBUTION NETWORKS OF UKRAINE'(LLC 'GAS DISTRIBUTION NETWORKS OF UKRAINE') | Ball valve DN 500 PN 25 according to DSTU EN 17292:2022 – 2 pieces. | pcs | 2 | 54400
Generation | Dobrotvir TPP | Metal corner L75X8 | t | 1.12 | 878.68 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRD-35/1000/UHLDoublePoleManualDrive | set | 1 | 1057 | Gas distribution and gas production sector | LIMITED LIABILITY COMPANY'GAS DISTRIBUTION NETWORKS OF UKRAINE'(LLC 'GAS DISTRIBUTION NETWORKS OF UKRAINE') | Ball valve DN 700 PN 25 according to DSTU EN 17292:2022 – 2 pieces. | pcs | 2 | 94000
Generation | Dobrotvir TPP | Metal corner L90X8 | t | 6.28 | 4915.75 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ1-35/1000/UHLDoublePoleMotorDrive | set | 2 | 2114 | Gas distribution and gas production sector | LIMITED LIABILITY COMPANY'GAS DISTRIBUTION NETWORKS OF UKRAINE'(LLC 'GAS DISTRIBUTION NETWORKS OF UKRAINE') | Ball valve DN 1000 PN 25 according to DSTU EN 17292:2022 – 2 pieces. | pcs | 2 | 228000
Generation | Dobrotvir TPP | Metal corner L100X8 | t | 25.01 | 19583.89 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ1-35/1000/UHLTriplePoleManualDrive | set | 1 | 1057 | Gas distribution and gas production sector | LIMITED LIABILITY COMPANY'GAS DISTRIBUTION NETWORKS OF UKRAINE'(LLC 'GAS DISTRIBUTION NETWORKS OF UKRAINE') | ADS vehicles, re-equipped and completed – 4 units. | pcs | 4 | 504000
Generation | Dobrotvir TPP | Metal corner L125X10 | t | 15.16 | 11868.43 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker35kV | pcs | 2 | 13267 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Gas pumping unit in block-container execution with a centrifugal blower, piping with shut-off valves, and a gas pumping unit automatic control system (SАК ГПА) with a capacity of 10-12 MW. | kit | 8 | 66630454.55
Generation | Dobrotvir TPP | Metal corner L50X4 | t | 0.34 | 263.13 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTM-400kVA/10kV/0.23kV | pcs | 1 | 12061 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Gas pumping unit in block-container execution with a centrifugal blower, piping with shut-off valves, and a gas pumping unit automatic control system (SАК ГПА) with a capacity of 9 MW. | kit | 3 | 23241988.64
Generation | Dobrotvir TPP | Metal corner L90X6 | t | 2.75 | 2154.41 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VoltageTransformer35kV | pcs | 3 | 5836 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Odorization unit with one outlet and a storage block for the odorant (3 m³), pressure up to 1.2 MPa, including: technological panel with a dosing pump (for pump productivity Q=2000 ml/h) and manual dripper, control unit, power supply with batteries, tank 3 m³, discrete level sensor, pressure regulator, safety valve, spill-proof tray, heater with thermostat, vapor neutralizer for the odorant. | kit | 2 | 204545.45
Generation | Dobrotvir TPP | Metal corner L100X10 | t | 3.86 | 3023.69 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ2-35/1000/UHLTriplePoleManualDrive | pcs | 4 | 4229 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Pressure regulator DN100 PN100 (Connection type - flanged, according to DSTU EN 1092-1:2015 or ASME B16.5; N3; Output pressure adjustment range: 0.5-1.2 MPa (bar); Working medium - natural gas; Complete set for full assembly of flanged connections; Control - pneumatic pilot with spring drive; Electric heating of command gas to pilots). | pcs | 2 | 31818.18
Generation | Dobrotvir TPP | Metal corner L125X8 | t | 1.26 | 982.84 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTM-4000kVA/35kV/10kV | pcs | 1 | 126863 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Diameter 50 mm, Working pressure 100 kg/cm², Drive: manual; Installation: above ground. | pcs | 130 | 44318.18
Generation | Dobrotvir TPP | Iron channel 5 П | t | 1.6 | 1780.11 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ2-35/1000/UHLSinglePoleManualDrive | set | 3 | 2854 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Diameter 80 mm, Working pressure 100 kg/cm², Drive: pneumatic; Installation: above ground. | pcs | 46 | 62727.27
Generation | Dobrotvir TPP | Iron channel 6,5 П | t | 0.22 | 247.45 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ1-35/1000/UHLSinglePoleMotorDrive | set | 9 | 8563 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Diameter 100 mm, Working pressure 100 kg/cm², Drive: pneumatic; Installation: above ground. | pcs | 54 | 85909.09
Generation | Dobrotvir TPP | Iron channel 12 П | t | 2.1 | 2337.44 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRD-35/1000/UHLSinglePoleMotorDrive | set | 9 | 9515 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Diameter 150 mm, Working pressure 100 kg/cm², Drive: pneumatic-hydraulic; Installation: underground. | pcs | 4 | 18181.82
Generation | Dobrotvir TPP | Iron channel 14 П | t | 1.79 | 1996.35 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRD-35/1000/UHLDoublePoleManualDrive | set | 5 | 5286 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Diameter 150 mm, Working pressure 100 kg/cm², Drive: pneumatic-hydraulic; Installation: above ground. | pcs | 2 | 6818.18
Generation | Dobrotvir TPP | Iron channel 20 П | t | 24.03 | 26785.26 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ1-35/1000/UHLDoublePoleMotorDrive | set | 2 | 2114 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Diameter 150 mm, Working pressure 100 kg/cm², Drive: manual; Installation: above ground. | pcs | 3 | 4772.73
Generation | Dobrotvir TPP | Channel iron 24 П | t | 1.27 | 1411.16 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ1-35/1000/UHLTriplePoleManualDrive | set | 2 | 2114 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Diameter 200 mm, Working pressure 100 kg/cm², Drive: pneumatic-hydraulic; Installation: underground. | pcs | 13 | 88636.36
Generation | Dobrotvir TPP | Steel round bar 16 | t | 0.24 | 154.73 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SinglePhaseVacuumCircuitBreaker27.5kV | pcs | 2 | 14589 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Diameter 300 mm, Working pressure 100 kg/cm², Drive: pneumatic-hydraulic; Installation: underground. | pcs | 27 | 859090.91
Generation | Dobrotvir TPP | Two-shaft beam №18 | t | 0.27 | 249.94 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-110kV | pcs | 3 | 1946 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Diameter 400 mm, Working pressure 100 kg/cm², Drive: pneumatic-hydraulic; Installation: underground. | pcs | 2 | 75000
Generation | Dobrotvir TPP | Two-shaft beam №22 | t | 2.99 | 2816.34 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-27.5kV | pcs | 3 | 404 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Diameter 500 mm, Working pressure 100 kg/cm², Drive: pneumatic-hydraulic; Installation: underground. | pcs | 2 | 100000
Generation | Dobrotvir TPP | Two-shaft beam №30 | t | 1.19 | 1121.44 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-35kV | pcs | 3 | 593 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Diameter 700 mm, Working pressure 100 kg/cm², Drive: pneumatic-hydraulic; Installation: underground. | pcs | 1 | 72727.27
Generation | Dobrotvir TPP | Profile sheet Н 75 | t | 19.027 | 18265.92 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTDTN-40000kVA/110kV/35kV/27.5kV | pcs | 1 | 951475 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Diameter 800 mm, Working pressure 100 kg/cm², Drive: pneumatic-hydraulic; Installation: underground. | pcs | 2 | 263636.36
Generation | Dobrotvir TPP | Profile sheet НС 35 | t | 8.643 | 8297.28 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTDTN-40000kVA/110kV/27.5kV/10kV | pcs | 1 | 951475 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Diameter 1000 mm, Working pressure 100 kg/cm², Drive: pneumatic-hydraulic; Installation: underground. | pcs | 2 | 268181.82
Generation | Dobrotvir TPP | Profile tube □ 50х4 | t | 1.241 | 1170.49 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SinglePhaseVacuumCircuitBreaker27.5kV | pcs | 3 | 21884 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Diameter 1200 mm, Working pressure 100 kg/cm², Drive: pneumatic-hydraulic; Installation: underground. | pcs | 1 | 196363.64
Generation | Dobrotvir TPP | Profile tube □ 80х4 | t | 0.47 | 443.3 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker35kV | pcs | 2 | 13267 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Measurement complex based on an automatic gas calculator. | pcs | 58 | 382272.73
Generation | Dobrotvir TPP | Profile tube □ 100х4 | t | 17.782 | 16771.66 | [6 empty] | Distribution | Regional branch "Odesa Railway" | InsulatorIOS-35-500daN01 | pcs | 50 | 2268 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Ultrasonic gas meter DN80 PN80. | pcs | 5 | 215909.09
Generation | Dobrotvir TPP | Profile tube □ 120х4 | t | 6.316 | 5957.14 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-27.5kV | pcs | 8 | 1078 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Ultrasonic gas meter DN100 PN80. | pcs | 8 | 405454.55
Generation | Dobrotvir TPP | Sheet 0,5 mm | t | 2.148 | 2173.8 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-10kV | pcs | 8 | 355 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Ultrasonic gas meter DN150 PN80. | pcs | 10 | 618181.82
Generation | Dobrotvir TPP | Sheet 10 mm | t | 16.271 | 16466.3 | [6 empty] | Distribution | Regional branch "Odesa Railway" | InsulatorIOS-110-600daN | pcs | 20 | 2157 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Ultrasonic gas meter DN200 PN80. | pcs | 10 | 647727.27
Generation | Dobrotvir TPP | Sheet 20 mm | t | 0.393 | 397.7 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer110kV | pcs | 2 | 3594 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Ultrasonic gas meter DN250 PN80. | pcs | 3 | 232500
Generation | Dobrotvir TPP | Sheet 4 mm | t | 1.111 | 1124.3 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer110kV | pcs | 3 | 5392 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Ultrasonic gas meter DN300 PN80. | pcs | 5 | 465909.09
Generation | Dobrotvir TPP | Sheet 8 mm | t | 0.3 | 306.6 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VoltageTransformer110kV | pcs | 3 | 6977 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Ultrasonic gas meter DN50 PN16. | pcs | 3 | 49772.73
Generation | DTEK Kryvyi Rih TPP | MEDIUM PRESSURE ROTOR | pcs | 1 | 4410000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | InsulatorIO-10-3.75kNI | pcs | 50 | 2268 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Ultrasonic gas meter DN80 PN16. | pcs | 3 | 56590.91
Generation | DTEK Kryvyi Rih TPP | EXCITATION SYSTEM WITH TRANSFORMER | set | 2 | 1693440 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ1-35/1000/UHLSinglePoleMotorDrive | set | 2 | 1903 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Ultrasonic gas meter DN100 PN16. | pcs | 2 | 47727.27
Generation | DTEK Kryvyi Rih TPP | POWER CABLE (ALUMINIUM, COPPER, NUMBER OF CABLE CONDUCTORS 4, VOLTAGE CLASS FROM 220 TO 10000) | m | 40000 | 1009600 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRD-35/1000/UHLDoublePoleManualDrive | set | 1 | 1057 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Ultrasonic gas meter DN150 PN16. | pcs | 3 | 93068.18
Generation | DTEK Kryvyi Rih TPP | CONTROL CABLE (COOPER, NUMBER OF CABLE CONDUCTORS FROM 4 TO 51,VOLTAGE CLASS 380 V) | m | 50000 | 480000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ1-35/1000/UHLDoublePoleMotorDrive | set | 2 | 2114 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Gas meter turbine DN80 PN16. | pcs | 5 | 20454.55
Generation | DTEK Kryvyi Rih TPP | A SET OF MATERIALS AND EQUIPMENT FOR TURBINE RECOVERY (IMPELLERS, DIAPHRAGMS, SEALS BEARINGS,THERMAL INSULATION, OIL SYSTEM) EQUIPMENT) | set | 1 | 980000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ1-35/1000/UHLTriplePoleManualDrive | set | 1 | 1057 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Gas meter turbine DN80 PN80. | pcs | 14 | 60454.55
Generation | DTEK Kryvyi Rih TPP | POWER LINES 6 KV, 20 KV | set | 1 | 803600 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker10kV | pcs | 8 | 31056 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Gas meter turbine DN100 PN80. | pcs | 17 | 88863.64
Generation | DTEK Kryvyi Rih TPP | TURBINE REGULATION SYSTEM | set | 1 | 735000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTM-100kVA/10kV/0.4kV | pcs | 8 | 21482 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Gas meter turbine DN100 PN16. | pcs | 9 | 39681.82
Generation | DTEK Kryvyi Rih TPP | Mechanism Control Cabinets (type RTZO) operating voltages 230…400 V; operating voltages of control circuits ~230V,=24V; power range 0.1…30 kW | set | 1 | 686000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer10kV | pcs | 8 | 1015 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Gas meter turbine DN150 PN16. | pcs | 5 | 30340.91
Generation | DTEK Kryvyi Rih TPP | GENERATOR-TRANSFORMER UNIT PROTECTION KIT | set | 1 | 299880 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VoltageTransformer10kV | pcs | 8 | 3069 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Gas meter turbine DN150 PN80. | pcs | 7 | 48840.91
Generation | DTEK Kryvyi Rih TPP | CRANE (bunker-deaerator deparment) | set | 1 | 294000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRLND-10/1000/UHLTriplePoleManualDrive | set | 8 | 9445 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Gas meter turbine DN200 PN80. | pcs | 5 | 66363.64
Generation | DTEK Kryvyi Rih TPP | COMPLETE SWITCHGEAR 6 KV | pcs | 2 | 249033.68 | [6 empty] | Distribution | Regional branch "Odesa Railway" | Fuse10kV | pcs | 8 | 173 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Temperature transmitter (measuring element and temperature converter in one housing) class T ±0.3 °C; L=60. | pcs | 30 | 17045.45
Generation | DTEK Kryvyi Rih TPP | GENERATOR TERMINALS | pcs | 12 | 235200 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-35kV | pcs | 6 | 1186 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Temperature transmitter (measuring element and temperature converter in one housing) class T ±0.3 °C; L=100. | pcs | 15 | 8522.73
Generation | DTEK Kryvyi Rih TPP | TURBINE OIL TP-22S | t | 60 | 152880 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-10kV | pcs | 21 | 932 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Temperature transmitter (measuring element and temperature converter in one housing) class T ±0.3 °C; L=120. | pcs | 14 | 7954.55
Generation | DTEK Kryvyi Rih TPP | GENERATOR BRUSH CONTACT APPARATUS | pcs | 1 | 147000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-3.3kV(DC) | pcs | 3 | 73 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Temperature transmitter (measuring element and temperature converter in one housing) class T ±0.3 °C; L=160. | pcs | 12 | 6818.18
Generation | DTEK Kryvyi Rih TPP | TURBINE OIL PUMPS | pcs | 7 | 98000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker35kV | pcs | 9 | 59704 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Temperature transmitter (measuring element and temperature converter in one housing) class T ±0.3 °C; L=200. | pcs | 11 | 7000
Generation | DTEK Kryvyi Rih TPP | DIRECT CURRENT PANEL | pcs | 1 | 78400 | [6 empty] | Distribution | Regional branch "Odesa Railway" | HighSpeedCircuitBreaker3.3kV(DC) | pcs | 6 | 190295 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Temperature transmitter (measuring element and temperature converter in one housing) class T ±0.3 °C; L=250. | pcs | 12 | 7636.36
Generation | DTEK Kryvyi Rih TPP | HIGH-VOLTAGE INPUT 330 KV | pcs | 3 | 19332.46 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker10kV | pcs | 26 | 14801 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Absolute pressure transmitter Pmax 1 MPa. | pcs | 51 | 42886.36
Generation | DTEK Kryvyi Rih TPP | TURBINE PIPEWORK | t | 30 | 49000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTM-4000kVA/35kV/6kV | pcs | 2 | 338302 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Absolute pressure transmitter Pmax 1.6 MPa. | pcs | 10 | 8409.09
Generation | DTEK Kryvyi Rih TPP | ROLLED METAL PRODUCTS FOR RESTORING THE FLOOR | t | 20 | 39200 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTRD-12500kVA/35kV/1.305kV | pcs | 2 | 803468 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Absolute pressure transmitter Pmax 6 MPa. | pcs | 10 | 8409.09
Generation | DTEK Kryvyi Rih TPP | SHIELDS SWITCHGEAR-0,4 kV | pcs | 1 | 21560 | [6 empty] | Distribution | Regional branch "Odesa Railway" | InsulatorPS-70E | pcs | 60 | 615 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Absolute pressure transmitter Pmax 10 MPa. | pcs | 8 | 6727.27
Generation | DTEK POKROVSKA SOLAR FARM LLC | 150/35 kV Three phase transformer 80 MVA | pc | 1 | 1300000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer35kV | pcs | 6 | 6977 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Differential pressure transmitter, upper measurement limit for differential pressure from ≥ 6.2 to ≤ 10 kPa. | pcs | 18 | 40090.91
Generation | DTEK TIILIGULSKA WEP LLC | Wind turbine 6 MW type Vestas Enventus V162-6,0 | pcs | 1 | 6200000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer35kV | pcs | 4 | 6597 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Differential pressure transmitter, upper measurement limit for differential pressure from ≥ 62 to ≤ 100 kPa. | pcs | 37 | 82409.09
Generation | PU "Kharkivski teplovi merezhi" | Equipment for the gas distribution point | set | 1 | 960180 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer10kV | pcs | 6 | 10783 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Power supply 12 V. | pcs | 35 | 3977.27
Generation | PU "Kharkivski teplovi merezhi" | Cabinet with a gas metering unit (G400) 150/150 | pcs. | 1 | 12768 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer10kV | pcs | 6 | 10783 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Power supply 24 V. | pcs | 35 | 3977.27
Generation | PU "Kharkivski teplovi merezhi" | Complete Transformer Substation with a capacity of 1600 kVA | set | 4 | 367528 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VoltageTransformer35kV | pcs | 6 | 11671 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Gel battery 12V 24Ah. | pcs | 130 | 8863.64
Generation | PU "Kharkivski teplovi merezhi" | Vacuum three-pole column switch with voltage of 35 kV | set | 1 | 60000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VoltageTransformer10kV | pcs | 2 | 507 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Gel battery 12V 100Ah. | pcs | 25 | 5681.82
Generation | PU "Kharkivski teplovi merezhi" | Current transformer, 600 A | pcs. | 6 | 72000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VoltageTransformer6kV | pcs | 4 | 1015 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Intrinsically safe barrier (3-channel, for connecting an automatic calculator). | pcs | 50 | 25000
Generation | PU "Kharkivski teplovi merezhi" | Three-pole disconnector 35 kV horizontal installation with manual drive, two sets of earthing knives | pcs. | 3 | 30000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ2-35/1000/UHLTriplePoleManualDrive | pcs | 25 | 26430 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Intrinsically safe barrier (1-channel, for connecting an automatic calculator). | pcs | 55 | 27500
Generation | PU "Kharkivski teplovi merezhi" | Voltage transformer, 35 kV | pcs. | 3 | 33000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SemiconductorRectifier3.3kV | pcs | 2 | 495274 | Gas distribution and gas production sector | LLC 'Gas Transmission System Operator of Ukraine' | Intrinsically safe barrier (2-channel, for connecting an automatic calculator). | pcs | 35 | 17500
Generation | PU "Kharkivski teplovi merezhi" | Outdoor switchgear cabinet 6kV for connecting a gas turbine unit | set | 1 | 600000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTDTN-15000kVA/150kV/35kV/10kV | pcs | 1 | 475737 | Gas distribution and gas production sector | JSC Ukrtransgaz | Pipeline components (pipes, ball valves, tees, elbows, transitions, etc.). | kit | 1 | 1500000
Generation | PU "Kharkivski teplovi merezhi" | Outdoor switchgear cabinet 6kV for connecting a cogeneration units | set | 1 | 204167 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentLimitingReactor6kV | pcs | 1 | 10572 | Gas distribution and gas production sector | JSC Ukrtransgaz | Automatic control systems for gas pumping units (SАК ГПА). | pcs | 5 | 300000
Generation | PU "Kharkivski teplovi merezhi" | Transformer 25 MVA, 10.5/6.3 kV | pcs. | 1 | 560000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTDTN-25000kVA/150kV/35kV/6kV | pcs | 1 | 792896 | Gas distribution and gas production sector | JSC Ukrtransgaz | Gas pumping units NOVA LT12+2BCL456/A manufactured by "BAKER HUGHES". | pcs | 3 | 31500000
Generation | PU "Kharkivski teplovi merezhi" | Vacuum circuit breakers VGGm-10-63/4000UZ | pcs. | 2 | 11250 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-35kV | pcs | 6 | 1186 | Gas distribution and gas production sector | JSC Ukrtransgaz | Anti-pumping valves (АПК) "Mokveld". | pcs | 3 | 360000
Generation | PU "Kharkivski teplovi merezhi" | Current-limiting reactor | pcs. | 1 | 40000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-3.3kV(DC) | pcs | 6 | 146 | Gas distribution and gas production sector | JSC Ukrtransgaz | Gas preparation units. | pcs | 2 | 4488888.89
Generation | PU "Kharkivski teplovi merezhi" | Cable products (Aluminum cable 10kV 3x50 mm²) | km | 5 | 54000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-6kV | pcs | 12 | 274 | Gas distribution and gas production sector | JSC Ukrtransgaz | Complex air purification devices (КПОП). | pcs | 5 | 2355555.56
Generation | PU "Kharkivski teplovi merezhi" | Cable products (Aluminum power cable 10kV 3x120 mm²) | km | 2 | 79166 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker35kV | pcs | 6 | 39802 | Gas distribution and gas production sector | JSC Ukrtransgaz | Air cooling units for gas (АПО). | pcs | 1 | 200000
Generation | PU "Kharkivski teplovi merezhi" | Cable products (Aluminum power cable 10kV 3x240 mm²) | m | 500 | 37500 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer35kV | pcs | 8 | 7104 | Gas distribution and gas production sector | JSC Ukrtransgaz | Gas piston engine with a piston compressor, power 2-4 MW. | pcs | 9 | 81000000
Generation | PU "Kharkivski teplovi merezhi" | Cable products (Aluminum power cable 10kV 3x240 mm²) | km | 3 | 186000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VoltageTransformer35kV | pcs | 3 | 5836 | Gas distribution and gas production sector | JSC Ukrtransgaz | Lifting unit for well repair. | pcs | 4 | 4000000
Generation | Kharkiv CHP 5 | Thyristor excitation system for turbine generators type SVTG-2k/300- S2T2.5-AR24-UHL4 with excitation transformer | pc. | 1 | 869090 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ2-35/1000/UHLTriplePoleManualDrive | pcs | 6 | 6343 | Gas distribution and gas production sector | JSC Ukrtransgaz | Cementing unit. | pcs | 4 | 1040000
Generation | Kharkiv CHP 5 | 110 kV voltage transformer | pcs. | 6 | 43200 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-35kV | pcs | 6 | 1186 | Gas distribution and gas production sector | JSC Ukrtransgaz | Fire truck. | pcs | 9 | 2520000
Generation | Kharkiv CHP 5 | A set of protection panels for power unit No.2 based on the instrumentation modules of relay protection and automation ‘Diamond’ (PM RPA ‘Diamond’) | set | 1 | 202666.67 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-3.3kV(DC) | pcs | 4 | 97 | Gas distribution and gas production sector | JSC Ukrtransgaz | Truck crane LIEBHERR LTF 1045-4.1. | pcs | 11 | 8800000
Generation | Kharkiv CHP 5 | Microprocessor-based information and diagnostic complex ‘Regina’, with a recorder cabinet, control cables and additional equipment | set | 1 | 63500 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-6kV | pcs | 12 | 274 | Gas distribution and gas production sector | JSC Ukrtransgaz | Truck crane LIEBHERR LTM 1090-4.2. | pcs | 1 | 1050000
Generation | Kharkiv CHP 5 | Specialised equipment for the generator shaft sealing system at power unit No.2 | set | 1 | 150000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker35kV | pcs | 5 | 33169 | Gas distribution and gas production sector | JSC Ukrtransgaz | Crawler bulldozer. | pcs | 9 | 3465000
Generation | Kharkiv CHP 5 | Materials for the repair of the steam distribution system of the turbine of power unit No. 2 | set | 1 | 96000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker10kV | pcs | 2 | 4229 | Gas distribution and gas production sector | JSC Ukrtransgaz | Motor grader. | pcs | 3 | 705000
Generation | Kharkiv CHP 5 | A set of spare parts for the overhaul of the hydrogen-cooled turbine generator TVF-120-2U3 with the replacement of the stator winding, with stator winding rods, fan shield, terminal zero and phase leads, a plate for passing leads, a groove wedge, resistance thermometers, gas coolers, liners and a brush contact apparatus. | set | 1 | 1379205 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTM-4000kVA/35kV/6kV | pcs | 2 | 338302 | Gas distribution and gas production sector | JSC Ukrtransgaz | Backhoe loader. | pcs | 7 | 910000
Generation | Kharkiv CHP 5 | Pipes and fittings | set | 1 | 35000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTRD-12500kVA/35kV/1.305kV | pcs | 2 | 803468 | Gas distribution and gas production sector | JSC Ukrtransgaz | Excavator. | pcs | 7 | 1190000
Generation | Kharkiv CHP 5 | Flanges and fasteners | set | 1 | 10000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer35kV | pcs | 6 | 9895 | Gas distribution and gas production sector | JSC Ukrtransgaz | Minibus. | pcs | 8 | 320000
Generation | Kharkiv CHP 5 | Armature | set | 1 | 63800 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer10kV | pcs | 6 | 10783 | Gas distribution and gas production sector | JSC Ukrtransgaz | Special high-mobility vehicle with high-pressure pump. | pcs | 2 | 367000
Generation | Kharkiv CHP 5 | Miscellaneous rolled metal products | tonnes | 27.7 | 41550 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer10kV | pcs | 6 | 10783 | Gas distribution and gas production sector | JSC Ukrtransgaz | Steam mobile unit. | pcs | 1 | 140000
Generation | Kharkiv CHP 5 | System for automatic monitoring of vibration and thermal-mechanical state of the T-110/120-130 turbine generator with project development | pc. | 1 | 148400 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VoltageTransformer35kV | pcs | 3 | 5836 | Gas distribution and gas production sector | Ukrnafta | compressor | pcs | 2 | 7160000
Generation | Kharkiv CHP 5 | Flow part to the centrifugal condensate electric pump, type KsV-500-85, designed to supply condensate from steam turbines and heat exchangers of power unit No. 3 | pc. | 1 | 30000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VoltageTransformer10kV | pcs | 2 | 507 | Gas distribution and gas production sector | Ukrnafta | compressor | pcs | 2 | 6510000
Generation | Kharkiv CHP 5 | Flowing part to the centrifugal condensate electric pump, type KsV-500-150-1, designed to supply condensate from the steam turbine of power unit No.3 | pc. | 1 | 30000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VoltageTransformer6kV | pcs | 4 | 1015 | Gas distribution and gas production sector | Ukrnafta | compressor | pcs | 2 | 5580000
Generation | Kharkiv CHP 5 | Electric centrifugal condensate pumping unit, type KsV-500-85, designed for pumping condensate from the steam turbine of power unit No.3 | pc. | 1 | 49000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ2-35/1000/UHLTriplePoleManualDrive | pcs | 11 | 11629 | Gas distribution and gas production sector | Ukrnafta | gas processing unit | pcs | 1 | 14880000
Generation | Kharkiv CHP 5 | Electric centrifugal condensate pumping unit, type KsV-500-150-1, designed for pumping condensate from the steam turbine of power unit No.3 | pc. | 1 | 49000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-35kV | pcs | 3 | 593 | Gas distribution and gas production sector | Ukrnafta | compressor | pcs | 5 | 17900000
Generation | Kharkiv CHP 5 | Cable products and couplings | set | 1 | 350000 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-3.3kV(DC) | pcs | 3 | 73 | Gas distribution and gas production sector | Ukrnafta | compressor | pcs | 3 | 8790000
Generation | Kharkiv CHP 5 | 6 kV and 0.4 kV electric motors | pcs. | 27 | 407260 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker35kV | pcs | 2 | 13267 | Gas distribution and gas production sector | Ukrnafta | gas processing unit | pcs | 1 | 6040000
Generation | Belotserkivska CHP | SteelAluminumConductorAC300_39 | м | 600 | 2700 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer35kV | pcs | 2 | 1776 | Gas distribution and gas production sector | Ukrnafta | transformer station | pcs | 1 | 90000
Generation | Belotserkivska CHP | RectangularAluminumBusbarL100mmAD3160x10 | pcs | 730 | 33252 | [6 empty] | Distribution | Regional branch "Odesa Railway" | DisconnectorRDZ2-35/1000/UHLTriplePoleManualDrive | pcs | 2 | 2114
Generation | Belotserkivska CHP | RigidSpacer6RG_5_400 | pcs | 84 | 2671 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-10kV | pcs | 3 | 133 | [5 empty] | 364635606.26
Generation | Belotserkivska CHP | ConnectorClampForConductorAC500_27SAC_500_2 | pcs | 36 | 2374 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker10kV | pcs | 17 | 35945
Generation | Belotserkivska CHP | PowerCableCuPVCVVGng5x2_5mm2 | м | 1938 | 4070 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer10kV | pcs | 4 | 7189
Generation | Belotserkivska CHP | PowerCableCuPVCVVGng5x6mm2 | м | 765 | 3496 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer10kV | pcs | 4 | 7189
Generation | Belotserkivska CHP | PowerCableCuPVCVVGng5x10mm2 | м | 714 | 5355 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VoltageTransformer10kV | pcs | 2 | 507
Generation | Belotserkivska CHP | PowerCableCuPVCVVGng5x25mm2 | м | 612 | 11444 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTDTN-15000kVA/150kV/35kV/10kV | pcs | 1 | 475737
Generation | Belotserkivska CHP | ControlCableCuScreenedKVVGEng19x1_5mm2 | м | 1805 | 8989 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer35kV | pcs | 3 | 6407
Generation | Belotserkivska CHP | ControlCableCuScreenedKVVGEng4x2_5mm2 | м | 3672 | 6830 | [6 empty] | Distribution | Regional branch "Odesa Railway" | CurrentTransformer35kV | pcs | 2 | 2326
Generation | Belotserkivska CHP | ControlCableCuScreenedKVVGEng14x2_5mm2 | м | 459 | 2736 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SurgeArresterOPN-3.3kV(DC) | pcs | 4 | 97
Generation | Belotserkivska CHP | ControlCableCuScreenedKVVGEng19x2_5mm2 | м | 1734 | 14219 | [6 empty] | Distribution | Regional branch "Odesa Railway" | SF6CircuitBreaker150kV | pcs | 1 | 19757
Generation | Belotserkivska CHP | ControlCableCuScreenedKVVGEng27x2_5mm2 | м | 1377 | 15836 | [6 empty] | Distribution | Regional branch "Odesa Railway" | VacuumCircuitBreaker35kV | pcs | 2 | 13267
Generation | Belotserkivska CHP | ControlCableCuScreenedKVVGEng4x4mm2 | м | 2652 | 7770 | [6 empty] | Distribution | Regional branch "Odesa Railway" | PowerTransformerTM-400kVA/27.5kV/0.4kV | pcs | 2 | 23681
Generation | Belotserkivska CHP | ControlCableCuScreenedKVVGEng7x4mm2 | м | 2805 | 13548 | [6 empty] | Distribution | JSC TERNOPYLOBLENERGO | PowerTransformerTDN16000_110kV_10kV | pcs | 1 | 457453.08
Generation | Belotserkivska CHP | ControlCableCuScreenedKVVGEng10x4mm2 | м | 377 | 2586 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Mast substation with 63 kVA power transformer | pcs. | 1 | 10000
Generation | Belotserkivska CHP | AsbestosCementElectricalBoardArcResistant1150x800x20mm | pcs | 8 | 6378 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 100 kVA | pcs. | 1 | 13000
Generation | Belotserkivska CHP | OpticalSpliceClosureWithThermalSealCrosverFOSCPM | pcs | 6 | 8362 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 100 kVA | pcs. | 1 | 13000
Generation | Sloviansk TPP | PowerTransformer24/330kV | pcs | 1 | 8264250 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Mast substation with 63 kVA power transformer | pcs. | 1 | 10000
Generation | Kherson CHPP | GeneralBlockShutdownTENUB12(TENUB12-0034GENERALENERGYGBL-18-024) | pcs | 4 | 459182 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Mast substation with 63 kVA power transformer | pcs. | 1 | 10000
Generation | Kherson CHPP | ReducersRCD-315/250-1-00UZ(GSH-TS-1.6-0.6-3) | pcs | 2 | 240940 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Mast substation with 63 kVA power transformer | pcs. | 1 | 10000
Generation | Kherson CHPP | CurrentTransformerTFZM-110U2(60B-04) | pcs | 3 | 120120 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 160 kVA | pcs. | 1 | 14500
Generation | Kherson CHPP | CurrentTransformertypeEMF(45kA) | pcs | 1 | 31646 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 100 kVA | pcs. | 1 | 13000
Generation | Kherson CHPP | TransmissionEquipmentREKLUQ144-01-720 | pcs | 2 | 27150 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 100 kVA | pcs. | 1 | 13000
Generation | Kherson CHPP | SF6CircuitBreakertypeLTB170D1/BorGENERALENERGYGL313F1/4031P | pcs | 4 | 459382 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Kiosk type 2 cable glands with gas-insulated cells with load-breakers, 400 kVA transformer | pcs. | 1 | 40000
Generation | Kherson CHPP | Disconnector134kVtypeRDZ-2-150/1000U1,withdrive | pcs | 6 | 240940 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Kiosk type 3 cable glands with gas-insulated cells with load-breakers, 400 kVA transformer | pcs. | 1 | 45000
Generation | Kherson CHPP | CurrentTransformerIMB(170kV)seriesTFZM-170U1,600/5 | pcs | 2 | 10120 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 100 kVA | pcs. | 1 | 13000
Generation | Kherson CHPP | VoltageTransformerEMF(154kV) | pcs | 1 | 31646 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 100 kVA | pcs. | 1 | 13000
Generation | Kherson CHPP | SurgeArresterPEXLIMQ144-XH170 | pcs | 2 | 27158 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Mast substation with 40 kVA power transformer | pcs. | 1 | 9000
Generation | Mykolaiv CHPP | SynchronizationSystem | pcs | 1 | 1184535.04 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 250 kVA | pcs | 1 | 16000
Generation | Mykolaiv CHPP | ExcitationSystemofTurbogeneratorNo.2(notinstalledontheturbogenerator) | pcs | 1 | 40166.71 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 100 kVA | pcs | 1 | 13000
Generation | Mykolaiv CHPP | RotorofTurbogeneratorSt.No.2,typeT-25-2,U=6kV,P=25MW,n=3000rpm | pcs | 1 | 83333.33 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 160 kVA | pcs | 1 | 14500
[12 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 160 kVA | pcs | 1 | 14500
[5 empty] | 209292791.63 | [6 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 160 kVA | pcs | 1 | 14500
[12 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 160 kVA | pcs | 1 | 14500
[12 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 250 kVA | pcs | 1 | 16000
[12 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 160 kVA | pcs | 1 | 14500
[12 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 250 kVA | pcs | 1 | 16000
[12 empty] | Distribution | Mykolaivoblenergo JSC | Dead-end kiosk-type switchgear with air input with power transformer 160 kVA | pcs | 1 | 14500
[12 empty] | Distribution | Mykolaivoblenergo JSC | intermediate metal support П150-2 type | pcs | 1 | 23000
[12 empty] | Distribution | Mykolaivoblenergo JSC | intermediate metal support П150-2+5 type | pcs | 1 | 25000
[12 empty] | Distribution | Mykolaivoblenergo JSC | F1-2 foundation | pcs | 8 | 6000
[12 empty] | Distribution | Mykolaivoblenergo JSC | anchor-angled metal support У150-2 type | pcs | 1 | 26000
[12 empty] | Distribution | Mykolaivoblenergo JSC | ‘Payload 16 tonnes, length 11.3 m., limiting posts, brake system.’ | pcs | 2 | 92173
[12 empty] | Distribution | Mykolaivoblenergo JSC | Load capacity 11 tonnes, length 11.3 m., limiting posts, brake system. | pcs | 2 | 89913
[12 empty] | Distribution | Mykolaivoblenergo JSC | The structure is made of pipes; borehole diameter, mm 420; maximum borehole depth, mm 2500; minimum drill rotation frequency, rpm 60; maximum drill rotation frequency, rpm 120; Drill rotation drive - hydraulic; Drill rotation drive - hydraulic; lifting capacity of crane equipment, t 2; maximum lifting height of the load boom, m 7; maximum length of the installed supports, m 12; maximum transport speed, km/h 30; ;length 11400; width 2400; height 3200; weight of attachments, kg 2050 | pcs | 2 | 97000
[12 empty] | Distribution | Mykolaivoblenergo JSC | Base chassis - GVW from 7 tonnes and above. GVW from 5 tonnes. Technical characteristics of IVECO Eurocargo ML150E24WS 4×4: Wheel configuration 4×4; GVW - 15 tonnes; Wheelbase - 4150 mm; TECTOR engine 240 hp/177 kW; ZF6S800TO manual transmission; NH/4C control unit; 14.00R20 tyres; Day cab. Drilling and crane rig: HKTC HLC-8026A Hyundai Everdigm cable crane (South Korea); DIGGA PD10HF auger drill (Australia); Flatbed platform with folding steel sides and lugs. | pcs | 2 | 240000
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | PowerTransformerTDTN40000_110U1 | pcs | 2 | 2212000
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | SurgeArrester110kVPCA3_108L5E2M8 | pcs | 3 | 2120
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | VoltageTransformer110kVUTD_123 | pcs | 3 | 17334
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | PowerTransformerTDTN25000_110U1 | pcs | 1 | 665205
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | SF6CircuitBreaker110kVGL312F1_4031P_or_LTB123D1B | pcs | 3 | 77499
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | CurrentTransformer110kVIOSK123_600_5 | pcs | 9 | 63044
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | VoltageTransformer110kVUTD_123 | pcs | 6 | 34668
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | Disconnector110kVDTS126_1600_A_II_UHL1 | pcs | 7 | 98000
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | Disconnector110kVPCA3_108L5E2M8 | pcs | 6 | 4240
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | PowerTransformerTRDN25000_110U1 | pcs | 1 | 774290
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | NeutralGroundingTransformerZON110M_I_UHL1 | pcs | 1 | 1716
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | SurgeArresterNeutralPEXLIMQ072_YN123 | pcs | 1 | 707
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | SurgeArrester110kVPEXLIMQ108_HX145 | pcs | 3 | 2120
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | SF6CircuitBreakerGL312F1_4031P_or_LTB123D1B | pcs | 2 | 51666
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | CurrentTransformer110kVCA123 | pcs | 6 | 21015
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | DisconnectorRDZ1a_110_1000_40UHL1 | pcs | 2 | 7472
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | PowerTransformerTDTN16000_110U1 | pcs | 1 | 508819
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | SF6CircuitBreaker110kVGL312F1_4031P_or_LTB123D1B | pcs | 5 | 129165
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | CurrentTransformer110kVIOSK123_600_5 | pcs | 15 | 105073
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | Disconnector110kVDTS126_1600_A_II_UHL1 | pcs | 5 | 70000
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | Disconnector110kVDTS126_1600_C_II_UHL1 | pcs | 5 | 85000
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | Disconnector110kVDTS126_1600_A_II_UHL1 | pcs | 5 | 70000
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | Disconnector110kVDTS126_1600_A_II_UHL1 | pcs | 5 | 70000
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | OutdoorSwitchgear10kVAssembly | pcs | 1 | 10182
[12 empty] | Distribution | JSC "SUMYOBLENERGO" | OutdoorSwitchgear10kVAssembly | pcs | 1 | 20362
[12 empty] | Distribution | DTEK DONETSK GRIDS | Concrete block type FBS 24-6-6 (Civil protection) | pcs | 356 | 34354
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | PowerTransformerTypeTDTN-40000/150/35/6kV | pcs | 2 | 1300000
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | TransformerTypeTM-400/6 | pcs | 1 | 10500
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | DisconnectorTypeRDZ-1-35/1000U1 | pcs | 1 | 2500
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | DisconnectorTypeRDZ-2-35/1000U1 | pcs | 2 | 5200
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | EarthingSwitchTypeZON-110 | pcs | 1 | 1200
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | ArcSuppressingCoilTypeADGM-400/6 | pcs | 2 | 93200
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | ArcSuppressingCoilTypeRZDPM-1240/35 | pcs | 2 | 92500
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | SurgeArrester72kVPEXLIMR72-YN123 | pcs | 1 | 1500
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | SurgeArresterOPNp-35/42/10/500 | pcs | 6 | 3000
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | SurgeArresterOPNp-6/7.2/10U1 | pcs | 6 | 1200
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | PowerTransformerTypeTDTN-63000/150/35/6kV | pcs | 1 | 880000
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | PowerTransformerTypeTRDN-32000/150/6/6kV | pcs | 1 | 500000
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | DisconnectorRDZ-150-2-1000 | pcs | 11 | 55000
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | DisconnectorTypeRDZ-2-35/1000U1 | pcs | 6 | 15600
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | EarthingSwitchTypeZON-110 | pcs | 2 | 2400
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | SurgeArresterOPNp-150/110/10/850 | pcs | 12 | 18000
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | SurgeArresterOPNp-35/42/10/500 | pcs | 9 | 4500
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | SurgeArresterOPNp-6/7.2/10U1 | pcs | 9 | 1800
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | SurgeArrester72kVPEXLIMR72-YN123 | pcs | 1 | 1500
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | ArcSuppressingCoilTypeADGM-400/6 | pcs | 4 | 186400
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | TransformerTypeTM-400/6 | pcs | 2 | 10500
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | VoltageTransformerVTO38 | pcs | 6 | 54000
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | CurrentTransformersCTSО38L | pcs | 3 | 51000
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | TPOL-10/400/5 | pcs | 3 | 750
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | VacuumCircuitBreakerTypeVR35NS-35-20/1600U1 | pcs | 3 | 99000
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | VacuumCircuitBreaker10/1000 | pcs | 1 | 5000
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | PowerTransformerTRDN-63000/150/10 | pcs | 4 | 3520000
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | CurrentTransformerABBIMB-1702000/5 | pcs | 3 | 25500
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | CurrentTransformerABBIMB-1701200/5 | pcs | 9 | 76500
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | SurgeArresterOPNp-150/110/10/850 | pcs | 12 | 18000
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | SurgeArrester72kVPEXLIMR72-YN123 | pcs | 4 | 6000
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | SurgeArresterOPNp-10/12/10/550 | pcs | 9 | 2250
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | DisconnectorTypeRDZ-2-35/600U1 | pcs | 3 | 7800
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | EarthingSwitchTypeZON-110 | pcs | 4 | 4800
[12 empty] | Distribution | JSC "Zaporizhzhiaoblenergo" | SF6CircuitBreakerLTB-170D | pcs | 1 | 34900
[12 empty] | Distribution | DTEK Kyiv Grids | Block FBS 24.4.6-T UVB (Civil protection) | pcs | 1380 | 55200
[12 empty] | Distribution | DTEK Kyiv Regional Grids | Concrete block type FBS 24-6-6 (Civil protection) | pcs | 3519 | 339580
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | ZPUbuilding | pcs | 1 | 80646
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | AuxiliaryPowerPanel0.4kV | pcs | 3 | 27467
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | DCControlCabinetSHOT150A/h | pcs | 1 | 38125
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | CentralAlarmPanel | pcs | 1 | 7647.02
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | ControlPanel110kV | pcs | 3 | 16612
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | ControlPanel35kV | pcs | 2 | 10547.62
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | ProtectionAndAutomationPanelPL110kVIPP | pcs | 1 | 15052.33
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | ProtectionAndAutomationPanelPL110kVMashzavod | pcs | 1 | 15052
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | ProtectionAndAutomationPanelOV110kV | pcs | 1 | 17315.67
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | ProtectionAndAutomationPanelPL110kVOstropil | pcs | 1 | 15052
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | ProtectionAndAutomationPanelPL110kVStOEZ | pcs | 1 | 15052.33
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | ProtectionAndAutomationPanelSB110kV | pcs | 3 | 17403
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | MainTransformerProtectionPanelT1 | pcs | 1 | 18018
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | BackupProtectionAndAutomationPanelT1 | pcs | 1 | 15601
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | VoltageRegulationPanelT1T2 | pcs | 1 | 13404.26
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | MainTransformerProtectionPanelT2 | pcs | 1 | 18018
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | BackupProtectionAndAutomationPanelT2 | pcs | 1 | 15601
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | BusbarEquipmentPanel110kV | pcs | 1 | 13118.6
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | MeteringPanel110kV | pcs | 1 | 6526.34
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | MeteringPanel35kV | pcs | 1 | 3274.16
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | BusbarEquipmentPanel35kV | pcs | 1 | 7097
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | LineProtectionAndAutomationPanel35kV1C | pcs | 1 | 8965
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | LineProtectionAndAutomationPanel35kV2C | pcs | 1 | 10921
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | ProtectionAndAutomationPanelB35T1B35T2 | pcs | 1 | 10877
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | ProtectionAndAutomationPanelSB35AVR35 | pcs | 1 | 9426
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | MainLineProtectionPanel110kVStOEZ | pcs | 1 | 31401.14
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | DZS110kVPanelMainSet | pcs | 1 | 38410.91
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | DZS110kVPanelBackupSet | pcs | 1 | 38410.91
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | IDCReginaCabinet | pcs | 1 | 41245
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | TelemechanicsCabinet | pcs | 2 | 10500
[12 empty] | Distribution | JSC "Khmelnytskoblenergo" | PowerTransformerTM6300/110 | pcs | 1 | 366628
[12 empty] | Distribution | JSC "Kharkivoblenergo" | Two-winding power transformer T-2, TMN-2500/35 | piece | 1 | 32000
[12 empty] | Distribution | JSC "Kharkivoblenergo" | Oil circuit breaker B 110 AT (type MKP 110/600) | piece | 1 | 30000
[12 empty] | Distribution | JSC "Kharkivoblenergo" | HV 110 kV AT disconnector (type OD 150/VZVA) | piece | 1 | 30000
[12 empty] | Distribution | JSC "Kharkivoblenergo" | Switchgear cells-10 kV | piece | 36 | 432000
[12 empty] | Distribution | JSC "Kharkivoblenergo" | T-1 type TDN-10000/110 | piece | 1 | 250000
[12 empty] | Distribution | JSC "Kharkivoblenergo" | Oil circuit breaker 110 kV Loseve OL No. 1 type VMT-110-40/2000 | piece | 1 | 30000
[12 empty] | Distribution | JSC "Kharkivoblenergo" | Oil circuit breaker 110 kV overhead line Zmiiv TPP - Slobidska - Malinovka type VMT-110-1250-25 | piece | 1 | 30000
[12 empty] | Distribution | JSC "Kharkivoblenergo" | Power transformer T-3 | piece | 1 | 1000000
[12 empty] | Distribution | JSC "Kharkivoblenergo" | Power transformer T-1 | piece | 1 | 1000000
[12 empty] | Distribution | JSC "Kharkivoblenergo" | In 110 kV T-1 | piece | 1 | 30000
[12 empty] | Distribution | JSC "Kharkivoblenergo" | EV 110 kV T-2 | piece | 1 | 30000
[12 empty] | Distribution | JSC "Kharkivoblenergo" | Power transformer T-2 | piece | 1 | 30000
[12 empty] | Distribution | JSC "Kharkivoblenergo" | V-110 kV TL-110 kV Loseve - Svitla — Saltivska | piece | 1 | 30000
[12 empty] | Distribution | JSC "Kharkivoblenergo" | KVVGEng 4x2.5 | km | 1 | 1757.7
[12 empty] | Distribution | JSC "Kharkivoblenergo" | KVVGEng 7x2.5 | km | 1 | 2472.88
[12 empty] | Distribution | JSC "Kharkivoblenergo" | KVVGEng 10x2.5 | km | 4 | 15532.04
[12 empty] | Distribution | JSC "Kharkivoblenergo" | KVVGEng 14x2.5 | km | 1 | 5181.94
[12 empty] | Distribution | JSC "Kharkivoblenergo" | KVVGEng 19x2.5 | km | 3 | 21645.16
[12 empty] | Distribution | JSC "Kharkivoblenergo" | KVVGEng 4x4 | km | 1 | 1736.56
[12 empty] | Distribution | JSC "Kharkivoblenergo" | KVVGEng 10x4 | km | 4.5 | 26800
[12 empty] | Distribution | JSC "Kharkivoblenergo" | YAZV-200 terminal cabinet | piece | 3 | 1349
[12 empty] | Distribution | JSC "Kharkivoblenergo" | YAZV-120 terminal box | piece | 2 | 769
[12 empty] | Distribution | JSC "Kharkivoblenergo" | YAPV-1 switch drive power supply cabinet | piece | 4 | 1771
[12 empty] | Distribution | “POLTAVAOBLENERGO” JSC | Power transformer 16000/110/35/6 kV | pcs | 2 | 980000
[12 empty] | Distribution | “POLTAVAOBLENERGO” JSC | 35 kV Modular vacuum circuit switch (recloser) | pcs | 1 | 12114
[12 empty] | Distribution | “POLTAVAOBLENERGO” JSC | 110 kV voltage transformer | pcs | 6 | 40000
[12 empty] | Distribution | “POLTAVAOBLENERGO” JSC | 110 kV current transformer 300/5 | pcs | 3 | 21155
[12 empty] | Distribution | “POLTAVAOBLENERGO” JSC | 110 kV current transformer 600/5 | pcs | 12 | 98000
[12 empty] | Distribution | “POLTAVAOBLENERGO” JSC | 35 kV voltage transformer | pcs | 6 | 18736
[12 empty] | Distribution | “POLTAVAOBLENERGO” JSC | 35 kV current transformer 600/5 | pcs | 3 | 3903
Distribution
87763995.79